## Points
Include | E3OS Name | Data Type | Edison Point Name | AggregateType
0 |  | numeric | ACHWDPSP | None
0 |  | numeric | BASWATCHDOG | None
0 |  | numeric | CDWBPV | None
0 |  | numeric | CDWFLO | None
0 | CDWP3Failed | boolean | CDWP1Failed | None
0 | CDWP3kW | numeric | CDWP1kW | None
0 | CDWP3S | boolean | CDWP1S | None
0 | CDWP3SPD | numeric | CDWP1SPD | None
0 | CDWP3SS | boolean | CDWP1SS | None
0 | CDWP4Failed | boolean | CDWP2Failed | None
0 | CDWP4kW | numeric | CDWP2kW | None
0 | CDWP4S | boolean | CDWP2S | None
0 | CDWP4SPD | numeric | CDWP2SPD | None
0 | CDWP4SS | boolean | CDWP2SS | None
0 | CDWP5Failed | boolean | CDWP3Failed | None
0 | CDWP5kW | numeric | CDWP3kW | None
0 | CDWP5S | boolean | CDWP3S | None
0 | CDWP5SPD | numeric | CDWP3SPD | None
0 | CDWP5SS | boolean | CDWP3SS | None
0 | CDWSPD | numeric | CDWPSPD | None
0 | CDWRT_Avg | numeric | CDWRT | None
0 | CDWST_Avg | numeric | CDWST | None
0 |  | boolean | CDWSTSP | None
0 | CH3AVAIL | boolean | CH1AVAIL | None
0 | CH3CDP | numeric | CH1CDP | None
0 | CH3CDT | numeric | CH1CDT | None
0 |  | boolean | CH1CDWDP | None
0 |  | numeric | CH1CDWFLO | None
0 | CH3CDWRT | numeric | CH1CDWRT | None
0 | CH3CDWST | numeric | CH1CDWST | None
0 |  | boolean | CH1CDWVLV | None
0 |  | numeric | CH1CHWDP | None
1 |  | numeric | CH1CHWFLO | None
1 | CH3CHWRT | numeric | CH1CHWRT | None
1 | CH3CHWST | numeric | CH1CHWST | None
0 | CH3CHWSTSP | numeric | CH1CHWSTSP | None
0 |  | numeric | CH1CHWVLV | None
0 | CH3DISTEMP | numeric | CH1COMDISCHT | None
0 |  | numeric | CH1CURRLMT | None
0 | CH3EVP | numeric | CH1EVP | None
0 | CH3EVT | numeric | CH1EVT | None
0 | CH3F | boolean | CH1F | None
0 | CH3ALARM | boolean | CH1Failed | None
0 | CH3FLA | numeric | CH1FLA | None
0 | CH3COM1IGV | numeric | CH1IGV | None
1 | CH3kW | numeric | CH1kW | None
1 | CH3S | boolean | CH1S | None
0 | CH3COM1SPD | numeric | CH1SPD | None
0 | CH3SS | boolean | CH1SS | None
0 | CH3SURGE | numeric | CH1SURGE | None
0 | CH3SURGECNT | numeric | CH1SURGECNT | None
0 | CH4AVAIL | boolean | CH2AVAIL | None
0 | CH4CDP | numeric | CH2CDP | None
0 | CH4CDT | numeric | CH2CDT | None
0 |  | numeric | CH2CDWDP | None
0 |  | numeric | CH2CDWFLO | None
0 | CH4CDWRT | numeric | CH2CDWRT | None
0 | CH4CDWST | numeric | CH2CDWST | None
0 | CH4CHWVLV | boolean | CH2CDWVLV | None
0 |  | numeric | CH2CHWDP | None
0 |  | numeric | CH2CHWFLO | None
1 | CH4CHWRT | numeric | CH2CHWRT | None
1 | CH4CHWST | numeric | CH2CHWST | None
1 | CH4CHWSTSP | numeric | CH2CHWSTSP | None
0 |  | numeric | CH2CHWVLV | None
0 | CH4DISTEMP | numeric | CH2COMDISCHT | None
0 |  | boolean | CH2CURRLMT | None
0 | CH4EVP | numeric | CH2EVP | None
0 | CH4EVT | numeric | CH2EVT | None
0 | CH4F | boolean | CH2F | None
0 | CH4ALARM | boolean | CH2Failed | None
0 | CH4FLA | numeric | CH2FLA | None
0 |  | boolean | CH2IVG | None
0 | CH4kW | numeric | CH2kW | None
1 | CH4S | boolean | CH2S | None
0 | CH4COM1SPD | numeric | CH2SPD | None
0 | CH4SS | boolean | CH2SS | None
0 | CH4SURGECNT | numeric | CH2SURGECNT | None
0 | CH5AVAIL | boolean | CH3AVAIL | None
0 | CH5CDP | numeric | CH3CDP | None
0 | CH5CDT | numeric | CH3CDT | None
0 |  | boolean | CH3CDWDP | None
0 |  | boolean | CH3CDWFLO | None
0 | CH5CDWRT | numeric | CH3CDWRT | None
0 | CH5CDWST | numeric | CH3CDWST | None
0 | CH5CDWVLV | boolean | CH3CDWVLV | None
0 |  | numeric | CH3CHWDP | None
1 |  | numeric | CH3CHWFLO | None
1 | CH5CHWRT | numeric | CH3CHWRT | None
1 | CH5CHWST | numeric | CH3CHWST | None
0 | CH5CHWSTSP | numeric | CH3CHWSTSP | None
0 | CH5CHWVLV | numeric | CH3CHWVLV | None
0 | CH5DISTEMP | numeric | CH3COMDISCHT | None
0 |  | numeric | CH3CURRLMT | None
0 | CH5EVP | numeric | CH3EVP | None
0 | CH5EVT | numeric | CH3EVT | None
0 | CH5F | boolean | CH3F | None
0 | CH5ALARM | numeric | CH3Failed | None
0 | CH5FLA | numeric | CH3FLA | None
0 | CH5COM1IGV | numeric | CH3IGV | None
1 | CH5kW | numeric | CH3kW | None
0 | CH5S | boolean | CH3S | None
0 | CH5COM1SPD | numeric | CH3SPD | None
0 | CH5SS | boolean | CH3SS | None
0 | CH5SURGE | boolean | CH3SURGE | None
0 | CH5SURGECNT | numeric | CH3SURGECNT | None
0 |  | numeric | CHWBPV | None
0 | CHWDP | numeric | CHWDP | None
0 |  | numeric | CHWDPSP | None
1 | CHWFLO | numeric | CHWFLO | None
1 |  | numeric | CHWFLO2 | None
0 |  | numeric | CHWRP | None
1 | CHWRT_AVG | numeric | CHWRT | None
0 |  | numeric | CHWSP | None
0 | CHWST_AVG | numeric | CHWST | None
0 | CHWSTSP | numeric | CHWSTSP | None
0 | CLGMODE | numeric | CLGMODE | None
0 | COMLOSSBAS | numeric | COMLOSSBAS | None
0 | CT4EVLV | numeric | CT1EVLV | None
0 | CT4Failed | boolean | CT1Failed | None
0 | CT4kW | numeric | CT1kW | None
0 |  | numeric | CT1LVLV | None
0 | CT4S | boolean | CT1S | None
0 | CT4SPD | numeric | CT1SPD | None
0 | CT4SS | boolean | CT1SS | None
0 | CT5EVLV | boolean | CT2EVLV | None
0 | CT5Failed | boolean | CT2Failed | None
0 | CT5kW | numeric | CT2kW | None
0 |  | numeric | CT2LVLV | None
0 | CT5S | boolean | CT2S | None
0 | CT5SPD | numeric | CT2SPD | None
0 | CT5SS | boolean | CT2SS | None
0 | CTFSPD | numeric | CTFANSPDMAX | None
0 | LOOPREQ | boolean | EDGEMODE | None
0 | OECREADY | boolean | EDGEREADY | None
1 | OAH | numeric | OAH | None
1 | OAT | numeric | OAT | None
1 | OAWB | numeric | OAWB | None
1 | OEWATCHDOG | numeric | OEWATCHDOG | None
1 | EDGEOptimizationStatusEnum | numeric | OptimizationStatusEnum | None
0 | PCHWP3Failed | boolean | PCHWP1Failed | None
0 | PCHWP3kW | numeric | PCHWP1kW | None
0 | PCHWP3S | boolean | PCHWP1S | None
0 | PCHWP3SPD | numeric | PCHWP1SPD | None
0 | PCHWP3SS | boolean | PCHWP1SS | None
0 | PCHWP4Failed | boolean | PCHWP2Failed | None
0 | PCHWP4kW | numeric | PCHWP2kW | None
0 | PCHWP4S | boolean | PCHWP2S | None
0 | PCHWP4SPD | numeric | PCHWP2SPD | None
0 | PCHWP4SS | boolean | PCHWP2SS | None
0 | PCHWP5Failed | boolean | PCHWP3Failed | None
0 | PCHWP5kW | numeric | PCHWP3kW | None
0 | PCHWP5S | boolean | PCHWP3S | None
0 | PCHWP5SPD | numeric | PCHWP3SPD | None
0 | PCHWP5SS | boolean | PCHWP3SS | None
0 | PCHWPSPD | numeric | PCHWPSPD | None
0 | SCHWP3Failed | boolean | SCHWP1Failed | None
0 | SCHWP3kW | numeric | SCHWP1kW | None
0 | SCHWP3S | boolean | SCHWP1S | None
0 | SCHWP3SPD | numeric | SCHWP1SPD | None
0 | SCHWP3SS | boolean | SCHWP1SS | None
0 | SCHWP4Failed | boolean | SCHWP2Failed | None
0 | SCHWP4kW | numeric | SCHWP2kW | None
0 | SCHWP4S | boolean | SCHWP2S | None
0 | SCHWP4SPD | numeric | SCHWP2SPD | None
0 | SCHWP4SS | boolean | SCHWP2SS | None
0 | SCHWP5Failed | boolean | SCHWP3Failed | None
0 | SCHWP5kW | numeric | SCHWP3kW | None
0 | SCHWP5S | boolean | SCHWP3S | None
0 | SCHWP5SPD | numeric | SCHWP3SPD | None
0 | SCHWP5SS | boolean | SCHWP3SS | None

## DependentPoints
Include | E3OS Name | Data Type | Edison Point Name | AggregateType
0 | BaselinekW | numeric | BaselinekW | None
0 | BaselinekWh | numeric | BaselinekWh | None
0 | BaselinekWTon | numeric | BaselinekWTon | None
1 | ChilledWaterFlow | numeric | ChilledWaterFlow | None
1 | ChilledWaterReturnTemperature | numeric | ChilledWaterReturnTemperature | None
1 | ChilledWaterSupplyTemperature | numeric | ChilledWaterSupplyTemperature | None
1 | ChillerkW | numeric | ChillerkW | None
1 | kW | numeric | kW | None
0 | kWDelta | numeric | kWDelta | None
0 | kWhDelta | numeric | kWhDelta | None
0 | MinimumChilledWaterFlow | numeric | MinimumChilledWaterFlow | None
1 | OptimizationStatusEnum | numeric | OptimizationStatusEnum | None
1 | OptimumControl | numeric | OptimumControl | None
1 | PercentTotalLoad | numeric | PercentTotalLoad | None
0 | RunHours | numeric | RunHours | None
1 | OptimizationStatus | numeric | OptimizationStatus | None
0 | Ton | numeric | Ton | None
0 | TotalCapacity | numeric | TotalCapacity | None
1 | TotalkW | numeric | TotalkW | None
0 | TotalkWh | numeric | TotalkWh | None
0 | TotalTon | numeric | TotalTon | None

## CalculatedPoints
Include | E3OS Name | Data Type | Edison Point Name | AggregateType
1 | kWTon | numeric | kWTon | None
1 | kWTon_Weight | numeric | kWTon_Weight | None
1 | ChillerkWTon | numeric | ChillerkWTon | None
1 | ChillerkW | numeric | ChillerkW | None
1 | kWh | numeric | kWh | None
1 | TotalkWh | numeric | TotalkWh | None
1 | TotalkW | numeric | TotalkW | None
1 | TotalTon | numeric | TotalTon | None
1 | Ton | numeric | Ton | None
1 | TonHours | numeric | TonHours | None
1 | DollarsCost | numeric | DollarsCost | None
1 | CO2Produced | numeric | CO2Produced | None
1 | PercentOptimized | numeric | PercentOptimized | None
0 | PercentNotOptimized | numeric | PercentNotOptimized | None
0 | PercentPlantOff | numeric | PercentPlantOff | None
0 | PercentBasCommunicationFailure | numeric | PercentBasCommunicationFailure | None
1 | OptimizationStatus | numeric | OptimizationStatus | None
1 | PlantCOP | numeric | PlantCOP | None
1 | PlantCOP_Weight | numeric | PlantCOP_Weight | None
1 | ChillersRunning | numeric | ChillersRunning | None
1 | PercentTotalLoad | numeric | PercentTotalLoad | None
0 | ChillerkWh | numeric | ChillerkWh | None
0 | ChillerRunHours | numeric | ChillerRunHours | None
0 | PercentMissingData | numeric | PercentMissingData | None

## ConfigPoints
Include | E3OS Name | Data Type | Edison Point Name | AggregateType
1 | TotalCapacity | numeric | TotalCapacity | None
1 | MinimumChilledWaterFlow | numeric | MinimumChilledWaterFlow | None
1 | BlendedUtilityRate | numeric | BlendedUtilityRate | None
1 | CO2EmissionFactor | numeric | CO2EmissionFactor | None