## Points
Include | E3OS Name | Data Type | Edison Point Name
0 |  | numeric | ACHWDPSP
0 |  | numeric | BASWATCHDOG
1 |  | numeric | CDWBPV
1 |  | numeric | CDWFLO
1 | CDWP3Failed | boolean | CDWP1Failed
0 | CDWP3S | boolean | CDWP1S
0 | CDWP3SPD | numeric | CDWP1SPD
0 | CDWP3SS | boolean | CDWP1SS
0 | CDWP3kW | numeric | CDWP1kW
0 | CDWP4Failed | boolean | CDWP2Failed
0 | CDWP4S | boolean | CDWP2S
0 | CDWP4SPD | numeric | CDWP2SPD
0 | CDWP4SS | boolean | CDWP2SS
0 | CDWP4kW | numeric | CDWP2kW
0 | CDWP5Failed | boolean | CDWP3Failed
0 | CDWP5S | boolean | CDWP3S
0 | CDWP5SPD | numeric | CDWP3SPD
0 | CDWP5SS | boolean | CDWP3SS
0 | CDWP5kW | numeric | CDWP3kW
0 | CDWSPD | numeric | CDWPSPD
0 | CDWRT_Avg | numeric | CDWRT
0 | CDWST_Avg | numeric | CDWST
0 |  | boolean | CDWSTSP
0 | CH3AVAIL | boolean | CH1AVAIL
0 | CH3CDP | numeric | CH1CDP
0 | CH3CDT | numeric | CH1CDT
0 |  | boolean | CH1CDWDP
0 |  | numeric | CH1CDWFLO
0 | CH3CDWRT | numeric | CH1CDWRT
0 | CH3CDWST | numeric | CH1CDWST
0 |  | boolean | CH1CDWVLV
1 |  | numeric | CH1CHWDP
1 |  | numeric | CH1CHWFLO
0 | CH3CHWRT | numeric | CH1CHWRT
0 | CH3CHWST | numeric | CH1CHWST
0 | CH3CHWSTSP | numeric | CH1CHWSTSP
0 |  | numeric | CH1CHWVLV
0 | CH3DISTEMP | numeric | CH1COMDISCHT
0 |  | numeric | CH1CURRLMT
0 | CH3EVP | numeric | CH1EVP
0 | CH3EVT | numeric | CH1EVT
0 | CH3F | boolean | CH1F
0 | CH3FLA | numeric | CH1FLA
0 | CH3ALARM | boolean | CH1Failed
0 | CH3COM1IGV | numeric | CH1IGV
0 | CH3S | boolean | CH1S
0 | CH3COM1SPD | numeric | CH1SPD
0 | CH3SS | boolean | CH1SS
0 | CH3SURGE | numeric | CH1SURGE
0 | CH3SURGECNT | numeric | CH1SURGECNT
0 | CH3kW | numeric | CH1kW
0 | CH4AVAIL | boolean | CH2AVAIL
0 | CH4CDP | numeric | CH2CDP
0 | CH4CDT | numeric | CH2CDT
0 |  | numeric | CH2CDWDP
0 |  | numeric | CH2CDWFLO
0 | CH4CDWRT | numeric | CH2CDWRT
0 | CH4CDWST | numeric | CH2CDWST
0 | CH4CHWVLV | boolean | CH2CDWVLV
0 |  | numeric | CH2CHWDP
0 |  | numeric | CH2CHWFLO
0 | CH4CHWRT | numeric | CH2CHWRT
0 | CH4CHWST | numeric | CH2CHWST
0 | CH4CHWSTSP | numeric | CH2CHWSTSP
0 |  | numeric | CH2CHWVLV
0 | CH4DISTEMP | numeric | CH2COMDISCHT
0 |  | boolean | CH2CURRLMT
0 | CH4EVP | numeric | CH2EVP
0 | CH4EVT | numeric | CH2EVT
0 | CH4F | boolean | CH2F
0 | CH4FLA | numeric | CH2FLA
0 | CH4ALARM | boolean | CH2Failed
0 |  | boolean | CH2IVG
0 | CH4S | boolean | CH2S
0 | CH4COM1SPD | numeric | CH2SPD
0 | CH4SS | boolean | CH2SS
0 | CH4SURGECNT | numeric | CH2SURGECNT
0 | CH4kW | numeric | CH2kW
0 | CH5AVAIL | boolean | CH3AVAIL
0 | CH5CDP | numeric | CH3CDP
0 | CH5CDT | numeric | CH3CDT
0 |  | boolean | CH3CDWDP
0 |  | boolean | CH3CDWFLO
0 | CH5CDWRT | numeric | CH3CDWRT
0 | CH5CDWST | numeric | CH3CDWST
0 | CH5CDWVLV | boolean | CH3CDWVLV
0 |  | numeric | CH3CHWDP
0 |  | numeric | CH3CHWFLO
0 | CH5CHWRT | numeric | CH3CHWRT
0 | CH5CHWST | numeric | CH3CHWST
0 | CH5CHWSTSP | numeric | CH3CHWSTSP
0 | CH5CHWVLV | numeric | CH3CHWVLV
0 | CH5DISTEMP | numeric | CH3COMDISCHT
0 |  | numeric | CH3CURRLMT
0 | CH5EVP | numeric | CH3EVP
0 | CH5EVT | numeric | CH3EVT
0 | CH5F | boolean | CH3F
0 | CH5FLA | numeric | CH3FLA
0 | CH5ALARM | numeric | CH3Failed
0 | CH5COM1IGV | numeric | CH3IGV
0 | CH5S | boolean | CH3S
0 | CH5COM1SPD | numeric | CH3SPD
0 | CH5SS | boolean | CH3SS
0 | CH5SURGE | boolean | CH3SURGE
0 | CH5SURGECNT | numeric | CH3SURGECNT
0 | CH5kW | numeric | CH3kW
0 |  | numeric | CHWBPV
0 | CHWDP | numeric | CHWDP
0 |  | numeric | CHWDPSP
0 | CHWFLO | numeric | CHWFLO
0 |  | numeric | CHWFLO2
0 |  | numeric | CHWRP
0 | CHWRT_AVG | numeric | CHWRT
0 |  | numeric | CHWSP
0 | CHWST_AVG | numeric | CHWST
0 | CHWSTSP | numeric | CHWSTSP
0 | CLGMODE | numeric | CLGMODE
0 | COMLOSSBAS | numeric | COMLOSSBAS
0 | CT4EVLV | numeric | CT1EVLV
0 | CT4Failed | boolean | CT1Failed
0 |  | numeric | CT1LVLV
0 | CT4S | boolean | CT1S
0 | CT4SPD | numeric | CT1SPD
0 | CT4SS | boolean | CT1SS
0 | CT4kW | numeric | CT1kW
0 | CT5EVLV | boolean | CT2EVLV
0 | CT5Failed | boolean | CT2Failed
0 |  | numeric | CT2LVLV
0 | CT5S | boolean | CT2S
0 | CT5SPD | numeric | CT2SPD
0 | CT5SS | boolean | CT2SS
0 | CT5kW | numeric | CT2kW
0 | CTFSPD | numeric | CTFANSPDMAX
0 | LOOPREQ | boolean | EDGEMODE
0 | OECREADY | boolean | EDGEREADY
0 | OAH | numeric | OAH
0 | OAT | numeric | OAT
0 | OAWB | numeric | OAWB
0 | OEWATCHDOG | numeric | OEWATCHDOG
0 | PCHWP3Failed | boolean | PCHWP1Failed
0 | PCHWP3S | boolean | PCHWP1S
0 | PCHWP3SPD | numeric | PCHWP1SPD
0 | PCHWP3SS | boolean | PCHWP1SS
0 | PCHWP3kW | numeric | PCHWP1kW
0 | PCHWP4Failed | boolean | PCHWP2Failed
0 | PCHWP4S | boolean | PCHWP2S
0 | PCHWP4SPD | numeric | PCHWP2SPD
0 | PCHWP4SS | boolean | PCHWP2SS
0 | PCHWP4kW | numeric | PCHWP2kW
0 | PCHWP5Failed | boolean | PCHWP3Failed
0 | PCHWP5S | boolean | PCHWP3S
0 | PCHWP5SPD | numeric | PCHWP3SPD
0 | PCHWP5SS | boolean | PCHWP3SS
0 | PCHWP5kW | numeric | PCHWP3kW
0 | PCHWPSPD | numeric | PCHWPSPD
0 | SCHWP3Failed | boolean | SCHWP1Failed
0 | SCHWP3S | boolean | SCHWP1S
0 | SCHWP3SPD | numeric | SCHWP1SPD
0 | SCHWP3SS | boolean | SCHWP1SS
0 | SCHWP3kW | numeric | SCHWP1kW
0 | SCHWP4Failed | boolean | SCHWP2Failed
0 | SCHWP4S | boolean | SCHWP2S
0 | SCHWP4SPD | numeric | SCHWP2SPD
0 | SCHWP4SS | boolean | SCHWP2SS
0 | SCHWP4kW | numeric | SCHWP2kW
0 | SCHWP5Failed | boolean | SCHWP3Failed
0 | SCHWP5S | boolean | SCHWP3S
0 | SCHWP5SPD | numeric | SCHWP3SPD
0 | SCHWP5SS | boolean | SCHWP3SS
0 | SCHWP5kW | numeric | SCHWP3kW
0 | EDGEOptimizationStatusEnum | numeric | OptimizationStatusEnum