## Points
Include | E3OS Name | Data Type | Tesla Point Name | From sites/id query
0 |  | numeric | ACHWDPSP | TotalkW
0 |  | numeric | BASWATCHDOG | ChillerkW
0 |  | numeric | CDWBPV | ChillersRunning
0 |  | numeric | CDWFLO | Optimized
0 | CDWP3Failed | boolean | CDWP1Failed | PartiallyOptimized
0 | CDWP3S | boolean | CDWP1S | CO2Rate
0 | CDWP3SPD | numeric | CDWP1SPD | CO2Produced
1 | CDWP3SS | boolean | CDWP1SS | COMLOSSBAS
1 | CDWP3kW | numeric | CDWP1kW | ACHWDPSP
1 | CDWP4Failed | boolean | CDWP2Failed | BASWATCHDOG
1 | CDWP4S | boolean | CDWP2S | UtilityRate
1 | CDWP4SPD | numeric | CDWP2SPD | CDWPSPD
0 | CDWP4SS | boolean | CDWP2SS | CDWBPV
0 | CDWP4kW | numeric | CDWP2kW | CDWFLO
0 | CDWP5Failed | boolean | CDWP3Failed | CDWRT
0 | CDWP5S | boolean | CDWP3S | CDWST
0 | CDWP5SPD | numeric | CDWP3SPD | CDWSTSP
0 | CDWP5SS | boolean | CDWP3SS | CDWSTSPNotOptimized
0 | CDWP5kW | numeric | CDWP3kW | ChillerEfficiency
0 | CDWSPD | numeric | CDWPSPD | CHWBPV
0 | CDWRT_Avg | numeric | CDWRT | CHWDP
0 | CDWST_Avg | numeric | CDWST | CHWDPSP
0 |  | boolean | CDWSTSP | CHWDPSPNotOptimized
0 | CH3AVAIL | boolean | CH1AVAIL | CHWFLO
0 | CH3CDP | numeric | CH1CDP | CHWFLO2
0 | CH3CDT | numeric | CH1CDT | CHWRT
0 |  | boolean | CH1CDWDP | CHWST
0 |  | numeric | CH1CDWFLO | CHWSTSP
0 | CH3CDWRT | numeric | CH1CDWRT | CLGMODE
0 | CH3CDWST | numeric | CH1CDWST | BASCommunicationFailure
0 |  | boolean | CH1CDWVLV | Cost
0 |  | numeric | CH1CHWDP | CTFANSPDMAX
0 |  | numeric | CH1CHWFLO | DollarsSaved
0 | CH3CHWRT | numeric | CH1CHWRT | kWh
0 | CH3CHWST | numeric | CH1CHWST | MinimumChilledWaterFlow
0 | CH3CHWSTSP | numeric | CH1CHWSTSP | NotOptimized
0 |  | numeric | CH1CHWVLV | OAH
0 | CH3DISTEMP | numeric | CH1COMDISCHT | OAT
0 |  | numeric | CH1CURRLMT | OAWB
0 | CH3EVP | numeric | CH1EVP | OptimizationDisabled
0 | CH3EVT | numeric | CH1EVT | PlantRunning
0 | CH3F | boolean | CH1F | FreeCooling
0 | CH3FLA | numeric | CH1FLA | PCHWPSPD
0 | CH3ALARM | boolean | CH1Failed | PercentBASCommunicationFailure
0 | CH3COM1IGV | numeric | CH1IGV | PercentOptimized
0 | CH3S | boolean | CH1S | PercentNotFollowing
0 | CH3COM1SPD | numeric | CH1SPD | PercentNotOptimized
0 | CH3SS | boolean | CH1SS | PercentPlantOff
0 | CH3SURGE | numeric | CH1SURGE | PercentPlantOnline
0 | CH3SURGECNT | numeric | CH1SURGECNT | PercentTotalLoad
0 | CH3kW | numeric | CH1kW | PercentTotalLoadReport
0 | CH4AVAIL | boolean | CH2AVAIL | PlantEfficiency
0 | CH4CDP | numeric | CH2CDP | PlantElectricalUsage
0 | CH4CDT | numeric | CH2CDT | PlantOff
0 |  | numeric | CH2CDWDP | Ton
0 |  | numeric | CH2CDWFLO | TonHours
0 | CH4CDWRT | numeric | CH2CDWRT | TotalCapacity
0 | CH4CDWST | numeric | CH2CDWST | TotalkWh
0 | CH4CHWVLV | boolean | CH2CDWVLV | TotalTon
0 |  | numeric | CH2CHWDP
0 |  | numeric | CH2CHWFLO
0 | CH4CHWRT | numeric | CH2CHWRT
0 | CH4CHWST | numeric | CH2CHWST
0 | CH4CHWSTSP | numeric | CH2CHWSTSP
0 |  | numeric | CH2CHWVLV
0 | CH4DISTEMP | numeric | CH2COMDISCHT
0 |  | boolean | CH2CURRLMT
0 | CH4EVP | numeric | CH2EVP
0 | CH4EVT | numeric | CH2EVT
0 | CH4F | boolean | CH2F
0 | CH4FLA | numeric | CH2FLA
0 | CH4ALARM | boolean | CH2Failed
0 |  | boolean | CH2IVG
0 | CH4S | boolean | CH2S
0 | CH4COM1SPD | numeric | CH2SPD
0 | CH4SS | boolean | CH2SS
0 | CH4SURGECNT | numeric | CH2SURGECNT
0 | CH4kW | numeric | CH2kW
0 | CH5AVAIL | boolean | CH3AVAIL
0 | CH5CDP | numeric | CH3CDP
0 | CH5CDT | numeric | CH3CDT
0 |  | boolean | CH3CDWDP
0 |  | boolean | CH3CDWFLO
0 | CH5CDWRT | numeric | CH3CDWRT
0 | CH5CDWST | numeric | CH3CDWST
0 | CH5CDWVLV | boolean | CH3CDWVLV
0 |  | numeric | CH3CHWDP
0 |  | numeric | CH3CHWFLO
0 | CH5CHWRT | numeric | CH3CHWRT
0 | CH5CHWST | numeric | CH3CHWST
0 | CH5CHWSTSP | numeric | CH3CHWSTSP
0 | CH5CHWVLV | numeric | CH3CHWVLV
0 | CH5DISTEMP | numeric | CH3COMDISCHT
0 |  | numeric | CH3CURRLMT
0 | CH5EVP | numeric | CH3EVP
0 | CH5EVT | numeric | CH3EVT
0 | CH5F | boolean | CH3F
0 | CH5FLA | numeric | CH3FLA
0 | CH5ALARM | numeric | CH3Failed
0 | CH5COM1IGV | numeric | CH3IGV
0 | CH5S | boolean | CH3S
0 | CH5COM1SPD | numeric | CH3SPD
0 | CH5SS | boolean | CH3SS
0 | CH5SURGE | boolean | CH3SURGE
0 | CH5SURGECNT | numeric | CH3SURGECNT
0 | CH5kW | numeric | CH3kW
0 |  | numeric | CHWBPV
0 | CHWDP | numeric | CHWDP
0 |  | numeric | CHWDPSP
0 | CHWFLO | numeric | CHWFLO
0 |  | numeric | CHWFLO2
0 |  | numeric | CHWRP
0 | CHWRT_AVG | numeric | CHWRT
0 |  | numeric | CHWSP
0 | CHWST_AVG | numeric | CHWST
0 | CHWSTSP | numeric | CHWSTSP
0 | CLGMODE | numeric | CLGMODE
0 | COMLOSSBAS | numeric | COMLOSSBAS
0 | CT4EVLV | numeric | CT1EVLV
0 | CT4Failed | boolean | CT1Failed
0 |  | numeric | CT1LVLV
0 | CT4S | boolean | CT1S
0 | CT4SPD | numeric | CT1SPD
0 | CT4SS | boolean | CT1SS
0 | CT4kW | numeric | CT1kW
0 | CT5EVLV | boolean | CT2EVLV
0 | CT5Failed | boolean | CT2Failed
0 |  | numeric | CT2LVLV
0 | CT5S | boolean | CT2S
0 | CT5SPD | numeric | CT2SPD
0 | CT5SS | boolean | CT2SS
0 | CT5kW | numeric | CT2kW
0 | CTFSPD | numeric | CTFANSPDMAX
0 | LOOPREQ | boolean | EDGEMODE
0 | OECREADY | boolean | EDGEREADY
0 | OAH | numeric | OAH
0 | OAT | numeric | OAT
0 | OAWB | numeric | OAWB
0 | OEWATCHDOG | numeric | OEWATCHDOG
0 | PCHWP3Failed | boolean | PCHWP1Failed
0 | PCHWP3S | boolean | PCHWP1S
0 | PCHWP3SPD | numeric | PCHWP1SPD
0 | PCHWP3SS | boolean | PCHWP1SS
0 | PCHWP3kW | numeric | PCHWP1kW
0 | PCHWP4Failed | boolean | PCHWP2Failed
0 | PCHWP4S | boolean | PCHWP2S
0 | PCHWP4SPD | numeric | PCHWP2SPD
0 | PCHWP4SS | boolean | PCHWP2SS
0 | PCHWP4kW | numeric | PCHWP2kW
0 | PCHWP5Failed | boolean | PCHWP3Failed
0 | PCHWP5S | boolean | PCHWP3S
0 | PCHWP5SPD | numeric | PCHWP3SPD
0 | PCHWP5SS | boolean | PCHWP3SS
0 | PCHWP5kW | numeric | PCHWP3kW
0 | PCHWPSPD | numeric | PCHWPSPD
0 | SCHWP3Failed | boolean | SCHWP1Failed
0 | SCHWP3S | boolean | SCHWP1S
0 | SCHWP3SPD | numeric | SCHWP1SPD
0 | SCHWP3SS | boolean | SCHWP1SS
0 | SCHWP3kW | numeric | SCHWP1kW
0 | SCHWP4Failed | boolean | SCHWP2Failed
0 | SCHWP4S | boolean | SCHWP2S
0 | SCHWP4SPD | numeric | SCHWP2SPD
0 | SCHWP4SS | boolean | SCHWP2SS
0 | SCHWP4kW | numeric | SCHWP2kW
0 | SCHWP5Failed | boolean | SCHWP3Failed
0 | SCHWP5S | boolean | SCHWP3S
0 | SCHWP5SPD | numeric | SCHWP3SPD
0 | SCHWP5SS | boolean | SCHWP3SS
0 | SCHWP5kW | numeric | SCHWP3kW
0 | EDGEOptimizationStatusEnum | numeric | OptimizationStatusEnum